## Bidders Proposal
PROPOSAL
TO: | The Honorable Mayor and City Council
City of Garland, Texas
GENTLEMEN:
The undersigned bidder, having examined the plans, specifications and contract documents, the location of the proposed work and being fully advised as to the extend and character of the work, propose to furnish all equipment and to perform all labor and work necessary for the completion of the work described by and in accordance with the plans, specifications, and contracts for the following prices to wit.
No City of Garland employee shall have a direct or indirect financial interest in any contract with the City, or be directly of indirectly financially interested in the sale of land, materials, supplies or services to the City.
PROPOSAL AND BID SCHEDULE
1 | TIME AND PLACE OF RECEIVING PROPOSALS:
Sealed proposals in conformity with the official advertisement inviting bids for the project will be received in the office of the City Purchasing Agent of the City of Garland, Texas until 3:00 p.m. on the 1th day of November
2 | LOCATION OF PROJECT:
Wynn Joyce Road (between S Country Club Road)
All portions of the construction project are located within the corporate limits of Garland, Texas.
3 | PROJECT DESCRIPTION:
Installation of 1,374 linear feet of 24" water main and the removal and replacement of 2,685 square yards of 10” concrete paving along Wynn Joyce Road and all incidentals as shown on the approved plans.
4 | FORMS, PLANS AND SPECIFICATIONS:
Forms of proposals, special provisions, contract bond forms and plans may be obtained at the office of the City Purchasing Agent in City Hall upon the payment of $25 dollars per CD or free via download through Ion Wave (https://garlandtx.ionwave.net).
BIDDER IS INSTRUCTED TO FILL IN BOTH THE DESCRIPTION (_____dollars and _____ cents) AND THE UNIT PRICE
WYNN JOYCE ROAD 24" WATER MAIN
ITEM_NO | DESCRIPTION | UNIT | QTY | UNIT PRICE | UNIT TOTAL
130 | For sawing, removal and disposal of existing reinforced or non-reinforced concrete, street, median, alley,sidewalk,parking lot or drive approach for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 2685 |  | 0
132 | For sawing, removal and disposal of existing monolithic concrete curb and gutter, in which the total length is over 50 linear foot for the sum of _____________________________ dollars and _____________________________ cents per liniear foot. | LF | 457 |  | 0
138.04 | For sawing, removal and disposal of existing 4' concrete sidewalk, for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 95 |  | 0
140 | Remove, salvage, clean and transport to City of Garland existing fire hydrant all according to the plans for the sum of __________________________ dollars and ____________________________ cents each. | EA | 6 |  | 0
145.0001 | Remove and dispose existing water valve, and backfilling of excavated area all according to the specifications and details for the sum of ______________________________ dollars and ______________________________ cents per each. | EA | 4
203.1 | For four inch (4") top soil delivered, placed and compacted to 95% Standard Proctor Density according to the plans, specifications and details for the sum of _______________________ dollars and __________________ cents per square yard. | SY | 73 |  | 0
145.0002 | Remove, salvage & transport to the City of Garland warehouse existing gate valve including all necessary incidentals for the sum of ______________________________ dollars and ______________________________ cents per each. | EA | 14
201 | Hydrated Lime for subgrade treatment all according to the plans and specifications complete and in place for the sum of _____________________________ dollars and _____________________________ cents per ton. | TN | 25
202.3 | For cement for subgrade treatment all according to the plans and specifications complete and in place for the sum of _____________________________ dollars and _____________________________ cents per ton. | TN | 50
205.08 | Pulverizing, mixing, and compacting 8 inch thick lime and cement according to the plans, specifications and details for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 2685
265.04 | 4 inch thick topsoil in all areas to receive seed or sod including all incidentals according to the plans, technical specification TS-600, and details for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 19
WYNN JOYCE ROAD 24" WATER MAIN
ITEM_NO | DESCRIPTION | UNIT | QTY | UNIT PRICE | UNIT TOTAL
271 | Sodding, inlcuding fertilizer and sprinkling complete in place for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 19
311.0406 | Construct 4 inch thick, reinforced Class C concrete sidewalk paving including all excavation, forming, expansion joint materials for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 95 |  | 0
339.1 | Construct 10 inch 4000 psi reinforced concrete street paving all according to the plans, specifications and details for the sum of _____________________________ dollars and _____________________________ cents per square yard. | SY | 2685
360.1201 | Construct 6" concrete curb with 12" wide gutter in which the placement is from 0-5 LF according to the plans, specifications and details for the sum of _____________________________ dollars and _____________________________ cents per linear foot. | LF | 0
380 | For installing a sidewalk access ramp, including all incidentals necessary according to the plans for the sum of _____________________________ dollars and _____________________________ cents per square yard. | EA | 1
400.06 | Furnish and install 6 inch DR-18 PVC Class 150 water pipe including all incidentals necessary to complete according to the plans for the sum of __________________________ dollars and ____________________________ cents per linear foot. | LF | 118 |  | 0
400.241 | Furnish and install 24 inch AWWA C905 DR-18 PVC water pipe including all incidentals necessary to complete according to the plans for the sum of ______________________________ dollars and _____________________________ cents per linear foot. | LF | 1374 |  | 0
405 | Furnish and install 350 PSI cement lined poly-wrapped ductile iron fittings with restraining glands for water mains and all other incidentals necessary for the sum of _____________________________ dollars and ____________________________ cents per ton. | TN | 1 |  | 0
406.06 | Cut and plug all 6" water pipe in variable depth trench including open cut street backfill and all other incidentals necessary according to the plan for the sum of ______________________________ dollars and _____________________________ cents each. | EA | 3 |  | 0
406.08 | Cut and plug all 8" water pipe in variable depth trench including open cut street backfill and all other incidentals necessary according to the plan for the sum of ______________________________ dollars and _____________________________ cents each. | EA | 1 |  | 0
406.16 | Cut and plug all 16" water pipe in variable depth trench including open cut street backfill and all other incidentals necessary according to the plan for the sum of ______________________________ dollars and _____________________________ cents each. | EA | 2 |  | 0
410.06 | Furnish and install 6 inch gate valve including box, stack and concrete pad (where called for) and all other incidentals necessary to complete according to the plans for the sum of _____________________________ dollars and ____________________ cents each. | EA | 6 |  | 0
414.16 | Furnish and install 16 inch vertical butterfly valve including box, stack and concrete pad (where called for), and all other incidentals necessary to complete according to the plans for the sum of _____________________________ dollars and ____________________ cents each. | EA | 1 |  | 0
415.24 | Furnish and install 24 inch horizontal butterfly valve including box, stack and concrete pad (where called for), and all other incidentals necessary to complete according to the plans for the sum of _____________________________ dollars and ____________________ cents each. | EA | 3 |  | 0
420.101 | Remove and replace 1 inch type "K" water service including all incidentals necessary according to the plans for the sum of _____________ dollars and __________ cents per linear foot. | LF | 84
WYNN JOYCE ROAD 24" WATER MAIN
ITEM_NO | DESCRIPTION | UNIT | QTY | UNIT PRICE | UNIT TOTAL
420.201 | Remove and replace 2 inch type "K" water service including all incidentals necessary according to the plans for the sum of _____________ dollars and __________ cents per linear foot. | LF | 28
450 | Furnish and install standard City of Garland fire hydrant of variable depth bury and all other incidentals necessary to complete according to the plans for the sum of __________________________ dollars and ____________________________ cents per each. | EA | 6 |  | 0
493 | Furnish and install 2000 PSI concrete blocking for water mains at the locations shown according to the plans for the sum of _____________________________ dollars and _____________________________ cents per cubic yard. | CY | 50 |  | 0
496 | Furnish and install complete Trench Safety for water installations, (see "Special Notice to Contractors-Trench Safety") for the sum of _____________________________ dollars and _____________________________ cents per linear foot. | LF | 1492 |  | 0
702.001 | For removal, replacement and repair of all sprinkler heads, control valves, pipe fitting, controllers, and all incidentals according to the plans for the sum of __________________________ dollars and __________________________ cents each | HD | 10
763.2 | For temporary portable arrow board, direction and location determined by the plans and/or project owner, and all incidentals according to the plans for the sum of __________________________ dollars and __________________________ cents each | MOS | 2
797 | For Capital Improvements signs as shown on the plans and installed according to the plans for the sum of _____________________________ dollars and ______________________________ cents each. | EA | 1 |  | 0
798 | For all erosion control activities including devices, methods, temporary seeding, installation, maintenance, removal, etc., and all incidentals necessary according to the plans for the lump sum of ______________________________ dollars and _________ cents. | LS | 1 |  | 0
1601 | Furnish and install 8" thermoplastic crosswalk including all incidentals necessary, according to the plans, specifications and details for the sum of ______________________________ dollars and _______________________________ cents per linear foot. | LF | 40
1602 | Install 24" wide white thermoplastic stop bar on pavement including thermoplastic and all other incidentals necessary, according to the plans, specifications and details for the sum of ______________________________ dollars and _______________________________ cents per linear foot. | LF | 12
1650 | Furnish and install 4" round non-reflective white glazed ceramic traffic buttons (P-7W) and all incidentals necessary according to the plans for the sum of ______________________________ dollars and ______________________________ cents each. | EA | 540
WYNN JOYCE ROAD 24" WATER MAIN
ITEM_NO | DESCRIPTION | UNIT | QTY | UNIT PRICE | UNIT TOTAL
1656 | Furnish and install 4" non-reflecting yellow glazed ceramic traffic buttons and all incidentals according to the plans for the sum of ______________________________ dollars and ______________________________ cents each. | EA | 540
1900 | Implement traffic control, signing, and barricading and all other incidentals necessary according to the plans for the lump sum of ______________________________ dollars and ______________________________ cents. | LS | 1 |  | 0
2100 | For mobilization and move-in 5% max complete in place for the lump sum of ______________________________ dollars and ______________________________ cents. | LS | 1 |  | 0
|  | TOTAL BASE BID |  |  | 0
PROPOSAL SUMMARY
BID PROPOSAL
BASE BID
Materials Incorporated Into Work
Materials Not Incorporated Into Work
Other
| TOTAL BASE BID |  | 0
WORKING DAYS: 90
The above TOTAL BID does include ALL staking for alignment and grade by the CONTRACTOR. The undersigned further agrees that the proposal guaranty may be retained by the City of Garland, Texas, provided the undersigned is one of three lowest and most advantageous bidders, and that said proposal guaranty shall remain with the City of Garland until the contract has been signed, and the bond required for the faithful performance of the contract has been made by one of the three lowest responsible bidders; otherwise, proposal guaranty may be obtained upon request from the Purchasing Department. The undersigned hereby declares that he has visited the sites, has had sufficient time to make all tests and investigations to arrive at an intelligent estimate of the cost of doing the work, and has carefully examined the plans, specifications, and contract documents relating to the work covered by his bid or bids, that he agrees to do the work, and that no representation made by the City are in any sense a warranty, but are mere estimates for guidance of the Contractor.
Upon receipt of notice of the acceptance of the bid, we will execute the formal contract attached in quintuplicate, within ten days, and will deliver a Surety Bond for the faithful performance of the contract, and such other bonds as may have been required in the specifications. The bid security attached in the sum of 5% of the greatest amount of the total bid ($5%) is to become the property of the City of Garland in the event the contract and bond are not executed within the time set forth, and to be considered as liquidated damages because the delay and additional work caused thereby are incapable of accurate ascertainment
The Work Order may be issued on the date of a fully executed contract requiring the undersigned to commence work not later than ten (10) days thereafter. The undersigned further declares that he will provide all necessary tools and apparatus, do all work, and furnish all materials, and do everything required to carry out the above mentioned work covered by this proposal, in strict accordance with the contract documents, and the requirements pertaining thereto, for the sum of sums above set forth.
Submitted By:
Signature:
Title:
Date: